|  |  | Report Form Manufacturer’s Incident Report Medical Devices Vigilance System (MEDDEV 2.12/1 rev 6) |
| --- | --- | --- |

1. Administrative information Recipient

Name of national competent authority (NCA)

Address of national competent authority

Date of this report

Reference number assigned by the manufacturer

Reference number assigned by NCA to whom sent (if known)

Type of report

Initial report

Follow-up report

Combined initial and final report

Final report

Does the incident represent a serious public health threat?

Yes

No

Classification of incident

Death

Unanticipated serious deterioration in state of health, serious public health threat

All other reportable incidents

Identify to what other NCAs this report was also sent

2 Information on submitter of the report

Status of submitter

Manufacturer

Authorised representative within EEA and Switzerland

Others (identify the role):

| 3 Manufacturer information |
| --- |
| Manufacturer name |
| Manufacturer’s contact person |
| Address |
| Postal code | City |
| Phone | Fax |
| E-mail | Country |

| 4 Authorised Representative information |
| --- |
| Name of the authorised representative |
| The authorised representative’s contact person |
| Address |
| Postal code | City |
| Phone | Fax |
| E-mail | Country |

| 5 Submitter’s information (if different from section 3 or 4) |
| --- |
| Submitter’s name |
| Name of the contact person |
| Address |
| Postal code | City |
| Phone | Fax |
| E-mail | Country |

| 6 Medical device information |
| --- |
| Class |
| AIMD Active implants MDD Class III MDD Class IIb MDD Class IIa MDD Class I | IVD Annex II List A IVD Annex II List B IVD Devices for self-testing IVD General |
| Nomenclature system (preferable GMDN) |
| Nomenclature code |
| Nomenclature text |
| Commercial name/brand name/make |
| Model and/or catalogue number |
| Serial number(s) and/or lot/batch number(s) |
| Software version number (if applicable) |
| Device manufacturing date | Expiry date |
| Implant date (For implants only) | Explant date (For implants only) |
| Duration of implantion (For implants only. To be filled if the exact implant and explant dates are unknown) |
| Accessories/associated device (if applicable) |
| Notified body (NB) ID- number |

| 7 Incident information |
| --- |
| User facility report reference number, if applicable |
| Manufacturers awareness date |
| Date of incident occurred |
| Incident description narrative |
| Number of patients involved (if known) | Number of medical devices involved (if known) |
| Medical device current location/disposition (if known) |
| Operator of the medical device at the time of incident (select one) |
| health care professional patient other |
| Usage of the medical device (select from list below) |
| initial use reuse of a reusable medical device other (please specify): | reuse of a single use medical device re-serviced/refurbished problem noted prior use |

8 Patient information

Patient outcome

Remedial action taken by the healthcare facility relevant to the care of the patient

Age of the patient at the time of incident, if applicable

Gender, if applicable

Female Male

Weight in kilograms, if applicable

| 9 Healthcare facility information |
| --- |
| Name of the healthcare facility |
| Contact person within the facility |
| Address |
| Postal code | City |
| Phone | Fax |
| E-mail | Country |

10 Manufacturer’s preliminary comments (Initial/Follow-up report)

Manufacturer’s preliminary analysis

Initial corrective actions/preventive actions implemented by the manufacturer

Expected date of next report

11 Results of manufacturers final investigation (Final report)

The manufacturer’s device analysis results

Remedial action/corrective action/preventive action/Field Safety Corrective Action NOTE: In the case of a FSCA the submitter needs to fill in the form of Annex 4

Time schedule for the implementation of the identified action

Final comments from the manufacturer

Further investigations

Is the manufacturer aware of similar incidents with this type of medical device with a similar root cause?

Yes No

Number of similar incidents

If yes, state in which countries and the report reference numbers of the incidents

For final report only. The medical device has been distributed to the following countries:

Within EEA and Switzerland: AT BE BG CH CY CZ DE DK EE ES FI FR GB GR HU IE IS IT LI LT LU LV MT NL NO PL PT RO SE SI SK Candidate Countries: HR TR All EEA, Candidate Countries and Switzerland Others:

12 Comments

I affirm that the information given above is correct to the best of my knowledge.

………………………………………………………	
Signature

Name	City 	Date

Submission of this report does not, in itself, represent a conclusion by the manufacturer and/or authorized representative or the national competent authority that the content of this report is complete or accurate, that the medical device(s) listed failed in any manner and/or that the medical device(s) caused or contributed to the alleged death or deterioration in the state of the health of any person.